## Beam profile 14-15 nov
14112013 | [13 empty] | 3.5 cm |  | mA
| x | y | Time | sram3/s | sram3/scint rel | sram3/scint low beam | Scint rel | Scint low beam | Scint beam/rel | sram1 | sram2 | sram3 | sram4 | fcup beam exit [A] | Z[cm]
1 | [13 empty] | 5e-11 |  |  |  | SRAM3/SRAM1 | SRAM3/SRAM2 | SRAM3/SRAM3 | SRAM3/SRAM4
2 | 0 | 0 | 250 | 7.884 | 0.08277 | 0.00019136 | 23813 | 10300000 | 432.5368 | 250 | 174 | 1971 | 1580 |  |  |  |  | 7.884 | 11.3276 | 1 | 1.2475 | measured with external graphite faraday cup at ~3.5 cm from the beam exit point (thus minimal with ionization in the air)
3 | 0 | -0.5 | 229 | 16.8865 | 0.10195 | 0.00023295 | 37930 | 16600000 | 437.6483 | 483 | 228 | 3867 | 2008 |  |  |  |  | 8.0062 | 16.9605 | 1 | 1.9258
| 0 | -1 | 140 | 20.1214 | 0.10234 | 0.00023475 | 27527 | 12000000 | 435.9356 | 331 | 121 | 2817 | 973 |  |  |  |  | 8.5106 | 23.281 | 1 | 2.8952
| 0 | -1.5 | 155 | 21.6774 | 0.097638 | 0.000224 | 34413 | 15000000 | 435.8818 | 441 | 122 | 3360 | 762 |  |  |  |  | 7.619 | 27.541 | 1 | 4.4094
| 0 | -2 | 155 | 17.8258 | 0.084462 | 0.00019322 | 32713 | 14300000 | 437.1351 | 327 | 88 | 2763 | 426 |  |  |  |  | 8.4495 | 31.3977 | 1 | 6.4859
| 0.5 | 0 | 158 | 17.1456 | 0.069904 | 0.00016125 | 38753 | 16800000 | 433.5148 | 265 | 195 | 2709 | 2169 |  |  |  |  | 10.2226 | 13.8923 | 1 | 1.249
| -0.5 | 0 | 106 | 23.4245 | 0.10602 | 0.00023875 | 23420 | 10400000 | 444.0649 | 490 | 318 | 2483 | 2013 |  |  |  |  | 5.0673 | 7.8082 | 1 | 1.2335
| -1 | 0 | 94 | 23.7447 | 0.10829 | 0.00024527 | 20611 | 9100000 | 441.5118 | 629 | 522 | 2232 | 1972 |  |  |  |  | 3.5485 | 4.2759 | 1 | 1.1318
| -1.5 | 0 | 94 | 25.6383 | 0.11469 | 0.00013098 | 21014 | 18400000 | 875.6067 | 702 | 584 | 2410 | 1969 |  |  |  |  | 3.433 | 4.1267 | 1 | 1.224 | Possible no reset of counters in counting room
| -1.5 | 0 | 89 | 25.3933 | 0.10931 | 0.00025111 | 20676 | 9000000 | 435.2873 | 637 | 514 | 2260 | 1878 |  |  |  |  | 3.5479 | 4.3969 | 1 | 1.2034
| -2 |  | 158 | 23.8987 | 0.10551 | 0.00024051 | 35787 | 15700000 | 438.7068 | 1703 | 1223 | 3776 | 2976 |  |  |  |  | 2.2173 | 3.0875 | 1 | 1.2688
| -2.5 |  | 104 | 24.1538 | 0.090207 | 0.00020933 | 27847 | 12000000 | 430.9261 | 1854 | 1358 | 2512 | 2134 |  |  |  |  | 1.3549 | 1.8498 | 1 | 1.1771
| -1 | -0.8 | [19 empty] | With film on beam exit an infront of sram
15112013 | -0.8 | -1 | 244 | 5.9959 | 0.05263 | 3.6626e-05 | 27798 | 16300000 | 586.3731 | 111 | 49 | 1463 | 597 |  |  |  |  | 13.1802 | 29.8571 | 1 | 2.4506
| -1.3 | -1 | 150 | 8.26 | 0.069917 | 4.3725e-05 | 17721 | 10200000 | 575.5883 | 141 | 60 | 1239 | 446 |  |  |  |  | 8.7872 | 20.65 | 1 | 2.778
| -1.8 | -1 | 115 | 10.4609 | 0.093227 | 5.6267e-05 | 12904 | 7500000 | 581.2151 | 154 | 60 | 1203 | 422 |  |  |  |  | 7.8117 | 20.05 | 1 | 2.8507
| -2.3 | -1 | 108 | 11.8148 | 0.095502 | 6.0759e-05 | 13361 | 7900000 | 591.2731 | 338 | 136 | 1276 | 480 |  |  |  |  | 3.7751 | 9.3824 | 1 | 2.6583
| -2.8 | -1 | 103 | 12.0194 | 0.096825 | 6.1081e-05 | 12786 | 7400000 | 578.758 | 479 | 136 | 1238 | 452 |  |  |  |  | 2.5846 | 9.1029 | 1 | 2.7389
| -3.3 | -1 | 105 | 11.0095 | 0.093664 | 5.411e-05 | 12342 | 7300000 | 591.4763 | 715 | 232 | 1156 | 395 |  |  |  |  | 1.6168 | 4.9828 | 1 | 2.9266
| -2.5 | -1 | 105 | 11.6476 | 0.10457 | 5.8406e-05 | 11696 | 6900000 | 589.9453 | 343 | 119 | 1223 | 403 |  |  |  |  | 3.5656 | 10.2773 | 1 | 3.0347
| -2.5 | -1.5 | 101 | 10.6436 | 0.097488 | 3.2e-05 | 11027 | 6500000 | 589.4622 | 305 | 47 | 1075 | 208 |  |  |  |  | 3.5246 | 22.8723 | 1 | 5.1683
| -2.5 | -2 | 110 | 9.6636 | 0.089818 | 2.6618e-05 | 11835 | 6800000 | 574.567 | 224 | 65 | 1063 | 181 |  |  |  |  | 4.7455 | 16.3538 | 1 | 5.8729
| -2.5 | -0.5 | 163 | 9.4479 | 0.098762 | 9.3444e-05 | 15593 | 9000000 | 577.1821 | 398 | 213 | 1540 | 841 |  |  |  |  | 3.8693 | 7.23 | 1 | 1.8312
| -2.5 | 0 | 149 | 6.9396 | 0.081933 | 0.00011813 | 12620 | 7500000 | 594.2948 | 299 | 214 | 1034 | 886 |  |  |  |  | 3.4582 | 4.8318 | 1 | 1.167
Laser position | -0.8 | -0.7
Calibration
|  |  | time | [6 empty] | sram1 | sram2 | sram3 | sram4 | fcup beam exit [A] | Z[cm] | fluence [p/cm2] | fcup/scint rel
| -2.5 | -1 | 101 |  | 0.091896 | 6.0227e-05 | 65280 | 35200000 | 539.2157 | 4249 | 1430 | 5999 | 2120 | 1e-10 | 5 | 624219725.3433 | 1.5472e-13 | 1.4119 | 4.1951 | 1 | 2.8297
| -2.5 | -1 | 60 |  | 0.091049 | 6.9869e-05 | 52752 | 24360000 | 461.7834 | 3306 | 1147 | 4803 | 1702 | 2e-10 | 5 | 1248439450.6866 | 2.2748e-13 | 1.4528 | 4.1874 | 1 | 2.822
| -2.5 | -1 | 43 |  | 0.091737 | 8.9177e-05 | 57229 | 20050000 | 350.3469 | 3604 | 1145 | 5250 | 1788 | 2.5e-10 | 5 | 1560549313.3583 | 1.8784e-13 | 1.4567 | 4.5852 | 1 | 2.9362
|  |  |  | Avg | 0.094812
1.14e-06

## Beamtest 15 nov
[6 empty] | Scint conv | 0.094812
[13 empty] | Count Rate | Dose Limit | Time | Min
| Device | time [s] | Scint rel | SRAM3 | CS [cm2/device] | Estimated fluence at DUT | Estimated fluence at Bexit | Estimated dose Gy | Estimated dose kRad | Dose/scint count [Rad] | Dose/scint count [Gy] |  | 3000 | 50000 | 654.0662 | 10.9011
1 | TSP51200-1 | 3148 | 1639988 | 155490.3361 | 1.14e-06 | 136395031634.0777 | 1.0248e+12 | 417.8955 | 41.7896 | 0.025482 | 0.00025482 | A problem with the labview boxes at ~580s, Lost connection. Restarted the software and continued to run. RF lost after 800 s.Beam back at 970 s.
2 | MIC69302-1 | 2448 | 6438058 | 610404.3456 | 1.14e-06 | 535442408463.9807 | 4.0229e+12 | 1640.5215 | 164.0522 | 0.025482 | 0.00025482
3 | SN74avcb16245-1 | 991 | 2558493 | 242575.5166 | 1.14e-06 | 212785540912.8398 | 1.5987e+12 | 651.9455 | 65.1945 | 0.025482 | 0.00025482
4 | sn74avc2t245 | 916 | 2213156 | 209833.4684 | 1.14e-06 | 184064445978.3539 | 1.3829e+12 | 563.948 | 56.3948 | 0.025482 | 0.00025482
5 | qs3v3h257 | 806 | 2069453 | 196208.7176 | 1.14e-06 | 172112910216.5607 | 1.2931e+12 | 527.3302 | 52.733 | 0.025482 | 0.00025482

## Fluka
Fluka simulation results
Dose/primary particle at DUT | 4.078e-10 | Gy
Primary particles at Beam exit | 1
Primary particles at DUT | 0.1331
Beam intensity reduction at DUT | 7.5131
Fluka simulation results
Dose/primary particle at DUT | 2.937e-10 | Gy
Primary particles at Beam exit | 1
Primary particles at DUT | 0.08568
Beam intensity reduction at DUT | 11.6713

## Beam profile 27-28 nov
14112013 | [15 empty] | 3.5 cm |  | mA
| x | y | Time | sram3/s | sram3/scint rel | sram3/scint low beam | Scint rel ctrl room | Scint rel | rel/ctrl room | Scint low beam | Scint beam/rel | sram1 | sram2 | sram3 | sram4 | fcup beam exit [A] | Z[cm]
[19 empty] | SRAM3/SRAM1 | SRAM3/SRAM2 | SRAM3/SRAM3 | SRAM3/SRAM4 | Scint low was place two low. Put in correct postion
| 0 | 0 | 70 | 18.3429 | 0.17623 | 0.034703 |  | 7286 |  | 37000 | 5.0782 | 538 | 238 | 1284 | 602 |  |  |  | 2.3866 | 5.395 | 1 | 2.1329
| 0 | 0 | 54 | 20.0185 | 0.17563 | 0.00026238 |  | 6155 |  | 4120000 | 669.3745 | 507 | 160 | 1081 | 525 |  |  |  | 2.1321 | 6.7562 | 1 | 2.059
| -0.5 | 0 | 65 | 18.0308 | 0.17407 | 0.0002559 | 7664 | 6733 | 0.87852 | 4580000 | 680.2317 | 680 | 276 | 1172 | 465 |  |  |  | 1.7235 | 4.2464 | 1 | 2.5204
| -1 | 0 | 73 | 16.0548 | 0.1316 | 0.00022891 | 8906 | 7836 | 0.87986 | 5120000 | 653.3946 | 989 | 415 | 1172 | 523 |  |  |  | 1.185 | 2.8241 | 1 | 2.2409
| 0.5 | 0 | 67 | 18.2239 | 0.15853 | 0.00027194 | 7702 | 6780 | 0.88029 | 4490000 | 662.2419 | 380 | 153 | 1221 | 489 |  |  |  | 3.2132 | 7.9804 | 1 | 2.4969
| 1 | 0 | 78 | 16.1538 | 0.13886 | 0.0002364 | 9074 | 7923 | 0.87315 | 5330000 | 672.725 | 280 | 92 | 1260 | 549 |  |  |  | 4.5 | 13.6957 | 1 | 2.2951
| -0.5 | 0 | 80 | 17.075 | 0.15445 | 0.00025822 | 8844 | 7738 | 0.87494 | 5290000 | 683.6392 | 744 | 310 | 1366 | 642 |  |  |  | 1.836 | 4.4065 | 1 | 2.1277
| 0 | 0.5 | 66 | 16.1667 | 0.14409 | 0.00024529 | 7405 | 6477 | 0.87468 | 4350000 | 671.6072 | 435 | 316 | 1067 | 1044 |  |  |  | 2.4529 | 3.3766 | 1 | 1.022
| 0 | 1 | 86 | 13.0814 | 0.11922 | 0.00020234 | 9436 | 8286 | 0.87813 | 5560000 | 671.0113 | 538 | 533 | 1125 | 1439 |  |  |  | 2.0911 | 2.1107 | 1 | 0.78179
| 0 | -0.5 | 63 | 16.7302 | 0.16523 | 0.00027737 | 6379 | 5622 | 0.88133 | 3800000 | 675.916 | 459 | 185 | 1054 | 512 |  |  |  | 2.2963 | 5.6973 | 1 | 2.0586
| 0 | -1 | 48 | 22.7917 | 0.1595 | 0.00028789 | 6859 | 6020 | 0.87768 | 3800000 | 631.2292 | 440 | 127 | 1094 | 401 |  |  |  | 2.4864 | 8.6142 | 1 | 2.7282
| 0 | 0 | 105 | 21.9524 | 0.15 | 0.00027375 | 15367 | 13472 | 0.87668 | 8420000 | 625 | 1060 | 530 | 2305 | 1504 |  |  |  | 2.1745 | 4.3491 | 1 | 1.5326
|  |  | 59 | 24.4915 | 0.1602 | 0.00029855 | 9020 | 7932 | 0.87938 | 4840000 | 610.1866 | 600 | 242 | 1445 | 594 |  |  |  | 2.4083 | 5.9711 | 1 | 2.4327
[19 empty] | 2.3491 | 6.1136 | 1 | 2.2225
Calibration with different beam current | 0 | 0 | 30 | 64.6 | 0.16313 | 0.00027885 | 11880 | 10350 | 0.87121 | 6950000 | 671.4976 | 825 | 317 | 1938 | 872
| 0 | 0 | 17 | 105.8235 | 0.16365 | 0.00027012 | 10993 | 9596 | 0.87292 | 6660000 | 694.0392 | 750 | 315 | 1799 | 845
| 0 | 0 | 29 | 60.7241 | 0.15974 | 0.00028403 | 11024 | 9602 | 0.87101 | 6200000 | 645.6988 | 752 | 291 | 1761 | 771
| 0 | 0 | 28 | 43.3929 | 0.14706 | 0.00026471 | 8262 | 7156 | 0.86613 | 4590000 | 641.4198 | 549 | 213 | 1215 | 549
| 0 | 0 | 40 | 29.775 | 0.14736 | 0.00027569 | 8082 | 7017 | 0.86823 | 4320000 | 615.6477 | 549 | 165 | 1191 | 518
| 0 | 0 | 64 | 69.4219 | 0.15754 | 0.00026494 | 28203 | 24485 | 0.86817 | 16770000 | 684.9091 | 1893 | 790 | 4443 | 2100
| 0 | 0 | 66 | 31.9091 | 0.14947 | 0.00027931 | 14090 | 12273 | 0.87104 | 7540000 | 614.3567 | 935 | 369 | 2106 | 927
| 0 | 0 | 67 | 22.1045 | 0.15904 | 0.00029502 | 9312 | 8084 | 0.86813 | 5020000 | 620.9797 | 703 | 249 | 1481 | 570
0.15587
0.0068874
4.4186
28112013
| x | y | Time | sram3/s | sram3/scint rel | sram3/scint low beam | Scint rel ctrl room | Scint rel | rel/ctrl room | Scint low beam | Scint beam/rel | sram1 | sram2 | sram3 | sram4 | neutron [uS/h] | Z[cm]
| 0 | 0 | 19 | 401.8421 | 0.46427 | 0.00063572 | 18365 | 16445 | 0.89545 | 12010000 | 730.3132 | 1908 | 537 | 7635 | 2250
| 0 | 0 | 60 | 138.0667 | 0.45085 | 0.00028526 | 20583 | 18374 | 0.89268 | 29040000 | 1580.4942 | 1896 | 589 | 8284 | 2475
| 0 | 0 | 60 | 103.6 | 0.45336 | 0.00026735 | 15443 | 13711 | 0.88785 | 23250000 | 1695.7188 | 1440 | 457 | 6216 | 1857
| 0 | 0 | 59 | 115.661 | 0.46189 | 0.00027661 | 16648 | 14774 | 0.88743 | 24670000 | 1669.8254 | 1554 | 490 | 6824 | 1915
| -0.5 | 0 | 34 | 112.6765 | 0.46397 | 0.00027741 | 9296 | 8257 | 0.88823 | 13810000 | 1672.5203 | 1416 | 391 | 3831 | 1118
| -1 | 0 | 43 | 115.3256 | 0.46036 | 0.00027704 | 12155 | 10772 | 0.88622 | 17900000 | 1661.7156 | 2459 | 702 | 4959 | 1511
| -1.5 | 0 | 53 | 97.9623 | 0.40632 | 0.00024433 | 14380 | 12778 | 0.8886 | 21250000 | 1663.0146 | 3833 | 1056 | 5192 | 1453
| 0.5 | 0 | 40 | 90.025 | 0.38378 | 0.00022634 | 10610 | 9383 | 0.88435 | 15910000 | 1695.6197 | 664 | 215 | 3601 | 1217
| 1 | 0 | 42 | 82.2381 | 0.315 | 0.0001967 | 12286 | 10965 | 0.89248 | 17560000 | 1601.4592 | 451 | 131 | 3454 | 1050
| 0 | 0 | 36 | 139.6667 | 0.45453 | 0.00029386 | 12440 | 11062 | 0.88923 | 17110000 | 1546.7366 | 1532 | 403 | 5028 | 1309
| 0 | 0.5 | 34 | 143.3824 | 0.46579 | 0.00030738 | 11834 | 10466 | 0.8844 | 15860000 | 1515.3831 | 1404 | 557 | 4875 | 1814 | 350
| 0 | 1 | 37 | 141.8378 | 0.48329 | 0.00030583 | 12228 | 10859 | 0.88804 | 17160000 | 1580.256 | 1536 | 805 | 5248 | 2760
| 0 | 1.5 | 32 | 134.0312 | 0.43006 | 0.00027778 | 11185 | 9973 | 0.89164 | 15440000 | 1548.1801 | 1310 | 885 | 4289 | 3292
| 0 | 2 | 31 | 107.5484 | 0.33937 | 0.00022301 | 10997 | 9824 | 0.89333 | 14950000 | 1521.7834 | 1146 | 1136 | 3334 | 4013
| 0 | -0.5 | 47 | 132.8723 | 0.40846 | 0.00026745 | 17235 | 15289 | 0.88709 | 23350000 | 1527.2418 | 1713 | 369 | 6245 | 1316
| -0.5 | 0.8 | 31 | 180.9355 | 0.4877 | 0.00032897 | 12978 | 11501 | 0.88619 | 17050000 | 1482.4798 | 2220 | 999 | 5609 | 2934
Calibrering
| -0.5 | 0.8 | 42 | 161.3095 | 0.47117 | 0.00031293 | 16245 | 14379 | 0.88513 | 21650000 | 1505.668 | 2685 | 1328 | 6775 | 3593 | 365
|  |  | 49 | 155.0204 | 0.46699 | 0.00030518 | 18250 | 16266 | 0.89129 | 24890000 | 1530.1857 | 2919 | 1413 | 7596 | 4009 | 360
|  |  | 60 | 285.8 | 0.46538 | 0.0004147 | 41634 | 36847 | 0.88502 | 41350000 | 1122.208 | 6855 | 3303 | 17148 | 9212 | 564
|  |  |  | Avg | 0.47281
|  |  |  | stdv | 0.01022
|  |  |  | % | 2.1616
Afer irr. Test
Moving each SRAM in beam center
SRAM3 |  |  | 33 | 227.2424 | 0.48384 | 0.00035795 | 17349 | 15499 | 0.89337 | 20950000 | 1351.7001 | 2726 | 1406 | 7499 | 4081 | 460
SRAM4 |  |  | 33 | 53.3636 | 0.4704 | 9.1291e-05 | 15139 | 13380 | 0.88381 | 19290000 | 1441.704 | 670 | 1929 | 1761 | 6294
SRAM2 |  |  | 33 | 18.9394 | 0.37056 | 3.3747e-05 | 14372 | 12662 | 0.88102 | 18520000 | 1462.6441 | 1357 | 4692 | 625 | 2224
SRAM1 |  |  | 33 | 77.3333 | 0.44977 | 0.00013361 | 14757 | 13029 | 0.8829 | 19100000 | 1465.9605 | 5860 | 3331 | 2552 | 1551 | 411
Measurement with collimator in front of beam low scintillator (in beam)
|  |  | 36 |  |  |  | 13483 | 11935 | 0.88519 | 499700 |  |  |  | 227.2424
5642.9879
4949989420.1353
5e-10
3125000000
250000000
7575757.5758

## Beamtest 27 nov
[7 empty] | Scint conv | 0.15587
[16 empty] | Count Rate | Dose Limit | Time | Min
| Device | counts/s | time [s] | Scint rel | SRAM3 | CS [cm2/device] | Estimated fluence at DUT | Estimated fluence at Bexit | Estimated dose Gy | Estimated dose kRad | Dose/scint count [Rad] | Dose/scint count [Gy] | Neutron uS/h | Neutron beam off |  | 1000 | 50000 | 1066.7837 | 17.7797
1 | ADN2814-1 | ~100 | 1290 | 141970 | 22129.4471 | 1.14e-06 | 19411795681.215 | 226561574243.8726 | 66.5411 | 6.6541 | 0.04687 | 0.0004687 |  | uS/h | A problem with the labview boxes at ~580s, Lost connection. Restarted the software and continued to run. RF lost after 800 s.Beam back at 970 s.
2 | ADN2814-1 | ~250
3 | ADN2814-1 | ~1000
| ADN2814-1 | ~1400 | 2292 | 2284093 | 356030.9584 | 1.14e-06 | 312307858229.8614 | 3.645e+12 | 1070.5511 | 107.0551 | 0.04687 | 0.0004687
28112013
[7 empty] | Scint conv | 0.47281
1 | MAX3748 | ~460 | [10 empty] | 483 | 426
~1000
|  | ~2000 | 2472 | 3109238 | 1470078.9722 | 1.14e-06 | 1.2895e+12 | 1.5051e+13 | 4420.3871 | 442.0387 | 0.14217 | 0.0014217 | 1300 |  | 1200pA was measured at the end of irradiation
2 | SY89831U-2 | ~1100 | 923 | 1165849 | 551225.1232 | 1.14e-06 | 483530809842.9243 | 5.6435e+12 | 1657.4813 | 165.7481 | 0.14217 | 0.0014217 | 830
3 | TSP51200-2 |  | 116 | 169413 | 80100.1689 | 1.14e-06 | 70263306043.8524 | 820066597150.472 | 240.8536 | 24.0854 | 0.14217 | 0.0014217 |  |  | Stopped due to wrong voltage, changed to new device
4 | MIC69302-2 | ~1300 | 1385 | 2698510 | 1275882.6463 | 1.14e-06 | 1.1192e+12 | 1.3063e+13 | 3836.4573 | 383.6457 | 0.14217 | 0.0014217 | 910 |  | Increased intensity during run
5 | SN74avcb16245-2 | ~2500 | 528 | 1415917 | 669459.7866 | 1.14e-06 | 587245426878.0637 | 6.8539e+12 | 2013.0017 | 201.3002 | 0.14217 | 0.0014217 | 1564
6 | sn74avc2t245-2 | ~2100 | 480 | 1136269 | 537239.402 | 1.14e-06 | 471262633299.3464 | 5.5003e+12 | 1615.4276 | 161.5428 | 0.14217 | 0.0014217 | 1388
7 | qs3v3h257-2 | 2900 |  | 736000 | 347988.1963 | 1.14e-06 | 305252803788.8202 | 3.5627e+12 | 1046.3673 | 104.6367 | 0.14217 | 0.0014217 | 1670
|  |  |  | 116 | 3.7143e-10 | 2692309122.6712
179487.2748
[6 empty] | 830.9596 | 0.23082